| Waikato Building Consents |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Compliance Schedule Details: SS 7 – Automatic Backflow Prevention Devices |  |  |  |  |  |  |  |  |
| Please provide the following information with your Building Consent Application and Code Compliance Certificate Application if applicable. (If you need help to complete this form, consult the system provider or an IQP who is registered for the system above) |  |  |  |  |  |  |  |  |
| Applicant Name: …………………………………….……..… Site Address: ……………………………………….………… ………………………………………………………………..… Existing Compliance Schedule Number(s): (if applicable) ………………………………….............................................. ………………………………….............................................. |  |  |  |  |  | Building Name: …………………………………..…………… Installation provider: (if known) ……………………………… ………………………………….............................................. Risk / Purpose group: …………………………….………… Fire Hazard Category: ……………………….……………… Total Occupant Load: ……………………….……………… |  |  |
| SPECIFIED SYSTEM DESCRIPTION (address those items that apply) |  |  |  |  |  |  |  |  |
| Specified systems are: |  |  |  |  Existing  New  Modified  Removed |  |  |  |  |
| Type: |  |  Reduced pressure zone devices  Double check valve assemblies  Pressure type vacuum breakers  Atmospheric vacuum breakers. |  |  |  | Specify if:  Connected to a potable water supply and contained entirely within the property boundary of the building it is servicing.  Contained partially within the property boundary of the building it is servicing and is not owned by the network utility operator. |  |  |
| Location Plan for specified systems and records is attached:  YES  NO |  |  |  |  |  |  |  |  |
| No. | Equipment location |  |  |  | Make (Main components) |  |  | Model |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
|  | If needed continue the list on another sheet of paper |  |  |  |  |  |  |  |
| STANDARDS (address those items that apply) |  |  |  |  |  |  |  |  |
| Specifically, designed solutions do not apply if the system has been installed against a specific Standard(s)/document. |  |  |  |  |  |  |  |  |
| Performance / installation: Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  |  |  AS/NZ 2845:2022 Water supply- Backflow prevention devices (3rd Edition – Original Version – 27 May 2022) - Part 1: Materials, design and performance requirements  AS/NZS 2845:2010 Water supply - Backflow prevention devices (Amendment 1 – 03 June 2016) - Part 1: Materials, design and performance requirements.  AS/NZS 2845:1998 Water supply - Backflow prevention devices (Original Version – 05 March 1998) - Part 1: Materials, design and performance requirements  AS 2845:1991 Water supply - Backflow prevention devices (Original Version – 11 February 1991) - Part 1: Materials, design and performance requirements  AS/NZS 3500:2021 Plumbing and drainage (Amendment 1 – 27 May 2022) Part 1: Water services  AS/NZS 3500:1:2018 Plumbing and drainage (Amendment 1 – 09 July 2019) Part 1: Water services  NZ Backflow testing standard 2011 - Field testing of backflow prevention devices and verification of air gaps (Original Version – 01 April 2011)  Specifically designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (details provided)  Other: …………………………. |  |  |  |  |  |
| Inspections: Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  |  |  AS/NZS 2845.3:2020 (Original Version – 13 February 2020) - Section 2  AS/NZS 2845.3:2010 (Amendment 1 – 30 June 2010)  United States Environmental Protection Agency ’Cross-Connection Control Manual – (Amendment 3 – 2003)  NZ Backflow Testing Standard 2011 (Amendment 1 - 01 September 2011) - Field testing of backflow prevention devices and verification of air gaps.  NZBC G12 Water supplies / AS1 – (3rd Edition – Amendment 13 – 2 November 2023) |  |  |  |  Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided)  Other: …………………………. |  |
| Maintenance: Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  |  |  AS/NZS 2845.3:2020 (Original Version – 13 February 2020) - Section 2  AS/NZS 2845.3:2010 (Amendment 1 – 30 June 2010)  United States Environmental Protection Agency ’Cross-Connection Control Manual – (Amendment 3 – 2003)  NZ Backflow Testing Standard 2011 (Amendment 1 - 01 September 2011) - Field testing of backflow prevention devices and verification of air gaps. |  |  |  |  Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided)  Other: …………………………. |  |
| INSPECTIONS, MAINTENANCE AND REPORTING (address those items that apply) |  |  |  |  |  |  |  |  |
| Minimum inspection and maintenance procedures: |  |  | Regular testing and planned preventative maintenance and responsive maintenance will be carried out in accordance with the nominated performance and inspection standard/document to ensure the backflow preventer provides protection to the drinking water supply. |  |  |  |  |  |
| Inspection frequency and responsibility: |  |  | Depending on the type of installation and its performance standard/document:  Specifically, designed solutions: by IQP only.  Standard /other document: Annually by IQP only |  |  |  |  |  |
| Reporting: |  |  | The owner will keep records of all inspections, maintenance and repairs undertaken in the previous 24 months. These will be recorded in the On-Site Logbook, which will remain on the premises with the most recent compliance schedule, and as a minimum include: - Details of any inspection, test or preventative maintenance carried out, including dates, works undertaken, faults found, remedies applied and the person who performed the work. - Form 12A provided annually by the IQP. |  |  |  |  |  |