| Waikato Building Consents |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Compliance Schedule Details: SS 1 – Automatic Systems for Fire Suppression (e.g. Sprinkler System) |  |  |  |  |  |  |  |  |  |
| Please provide the following information with your Building Consent Application and Code Compliance Certificate Application if applicable. (If you need help to complete this form, consult the system provider or an IQP who is registered for the system above) |  |  |  |  |  |  |  |  |  |
| Applicant Name: ……………………………………..……..… Site Address: ……………………………………….…………. ………………………………………………………………..…. Existing Compliance Schedule Number(s): (if applicable) ………………………………….............................................. ………………………………….............................................. |  |  |  |  |  |  | Building Name: …………………………………..…………… Installation provider: (if known) ……………………………… ………………………………….............................................. Risk / Purpose group: …………………………….………….. Fire Hazard Category: ……………………….………………. Total Occupant Load: ……………………….……………….. |  |  |
| SPECIFIED SYSTEM DESCRIPTION (address those items that apply) |  |  |  |  |  |  |  |  |  |
| Specified systems: |  |  |  | £ Existing £ New £ Modified £ Removed |  |  |  |  |  |
| Type: |  | £ Type 6 or £ Type 7 |  |  |  |  |  |
|  |  | £ Gas flood fire suppression system installed within a building for computer equipment protection. |  |  |  |  |  |  |  |
|  |  | £ Other: [specify] ……………………………………………………………………………………………….………. |  |  |  |  |  |  |  |
| Location Plan for specified systems and records is attached: £ YES £ NO |  |  |  |  |  |  |  |  |  |
| No. | Equipment location |  |  |  | Make (Main components) |  |  |  | Model |
| 1 |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |
|  | If needed continue the list on another sheet of paper |  |  |  |  |  |  |  |  |
| STANDARDS (address those items that apply) |  |  |  |  |  |  |  |  |  |
| Specifically, designed solutions do not apply if the system has been installed against a specific Standard(s) / document. |  |  |  |  |  |  |  |  |  |
| Performance / installation: Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  |  | NZS 4541:2020 Automatic fire sprinkler systems. (Original Version - 6 May 2020) NZS 4541:2013 Automatic fire sprinkler systems. (Original Version – 25 October 2013) NZS 4541:2007 Automatic fire sprinkler systems. (Amendment 1 – 13 July 2019) NZS 4541:2003 Automatic fire sprinkler systems. (Original Version – 17 August 2003) NZS 4541:1996 Automatic fire sprinkler systems. (Amendment 1 – 30 December 1998) NZS 4541:1987 Automatic fire sprinkler systems. (Amendment 2 – 26 June 1987) NZS 4541P:1972 NZ rules for automatic fire sprinkler installations. NZS 4515:2009 Fire sprinkler systems for life safety in sleeping occupancies (up to 2000m²) (Original Version – 17 December 2009) NZS 4515:2003 Fire sprinkler systems for residential occupancies. (Original Version - 14 December 2003) NZS 4515:1995 Fire sprinkler systems for residential occupancies (including private dwellings) (Original Version – 27 February 1996) NZS 4515:1990 Residential fire sprinkler systems. (Original Version – 25 July 1990) AS ISO 14520:2023 Gaseous fire-extinguishing systems. (4th Edition -Original Version – February 2023) AS 4214:2018/Amdt 1:2019 (Amendment 1 – December 2019) - Gaseous fire-extinguishing systems Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided). Other: ………………………………………………. |  |  |  |  |  |  |
| Inspections: Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  |  | £ NZS 4541:2020 (Original Version - 6 May 2020) Part 12, Clause 12.3 to 12.4 £ NZS 4541:2013 (Original Version – 25 October 2013) Part 12, Clause 1203 to 1204 £ NZS 4515:2009 (Original Version – 17 December 2009) Part 8, Clause 8.2 |  |  |  AS 1851:2012 (First Edition – Amendment 1 – November 2016) Sections 1 to 14 £ AS ISO 14520.1:2009 (Original Version – 21 October 2009) Part 9 £ Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided) £ Other: ………………………………………………. |  |  |  |
| Maintenance: Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  |  | £ NZS 4541:2020 (Original Version - 6 May 2020) Part 12, Clause 12.1 to 12.7 £ NZS 4541:2013 (Original Version – 25 October 2013) Part 12, Clause 1201 to 1207 £ NZS 4515:2009 (Original Version – 17 December 2009) Part 8  AS 1851:2012 (First Edition – Amendment 1 – November 2016) Sections 1 to 14 £ AS ISO 14520.1:2009 (Original Version – 21 October 2009) Part 9 |  |  | £ Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided) £ Other: ………………………………………………. Continue on the next page |  |  |  |
| INSPECTIONS, MAINTENANCE AND REPORTING (address those items that apply) |  |  |  |  |  |  |  |  |  |
| Minimum inspection and maintenance procedures: |  |  | Planned preventative inspection, maintenance and responsive maintenance will be carried out in accordance with the nominated performance and inspection Standard/document, to ensure the system will operate as required in the event of a fire. |  |  |  |  |  |  |
| Equipment requiring weekly maintenance: |  |  | £ Building contains Diesel Fire Pump £ Building contains an Electric Fire pump without an alarm |  |  |  |  |  |  |
| Inspection & Maintenance - frequency and responsibility: |  |  | Depending on the type of installation and its performance standard/document: £ Specifically, designed solutions: by IQP only. £ Standard /Standard /another document: £ Monthly: by IQP only £ Annually: by IQP only |  |  |  |  |  |  |
| Inspections & Maintenance: |  |  | Annual Inspection: £ The system is connected to the building’s emergency warning system therefore testing of the interface between the two systems will be carried out annually. £ The system is NOT connected to the building’s emergency warning system |  |  |  |  |  |  |
| Reporting: |  |  | The owner will keep records of all inspections, maintenance and repairs undertaken in the previous 24 months. These will be recorded in the On-Site Logbook, which will remain on the premises with the most recent compliance schedule, and as a minimum include: - Details of any inspection, test or preventative maintenance carried out, including dates, works undertaken, faults found, remedies applied and the person who performed the work. - Form 12A provided annually by the IQP |  |  |  |  |  |  |