	[image: image1.png]AN



                                                                           Waikato Building Consents

	Compliance Schedule Details: 

SS15/4 Signs for communicating information intended to facilitate evacuation

	Please provide the following information with your Building Consent Application and Code Compliance Certificate Application if applicable. 
(If you need help to complete this form, consult the system provider or an IQP who is registered for the system above)

	Applicant Name: ……………………………………..……..…

Site Address: ……………………………………….………….

………………………………………………………………..….
Existing Compliance Schedule Number(s): (if applicable) …………………………………..............................................
…………………………………..............................................
	Building Name: …………………………………..……………
Installation provider: (if known) ………………………………
…………………………………..............................................
Risk / Purpose group: …………………………….…………..
Fire Hazard Category: ……………………….……………….
Total Occupant Load: ……………………….………………..

	SPECIFIED SYSTEM DESCRIPTION (address those items that apply)

	Specified systems:                                   
	( Existing    ( New    ( Modified    ( Removed

	Type:
	Signs to facilitate evacuation:
( Exit sign

( Directional sign

( No exit sign

( Other: [specify] …………………………………………………………………………………………………….


	Location Plan for specified systems and records is attached: ( YES         ( NO  

	No.
	 Equipment location 
	Make (Main components)
	Model

	1
	
	
	

	2
	
	
	

	3
	
	
	

	4
	
	
	

	5
	
	
	

	
	If needed continue the list on another sheet of paper                                  
Continue on the next page

	STANDARDS (address those items that apply)

	Specifically, designed solutions do not apply if the system has been installed against a specific Standard / document.


	Performance / installation:
	£ F8/AS1 Acceptable Solution for Clause F8 Signs. (Amendment 4 - 01 January 2017) subsection 2.0, 3.0 and 4.0.

 F8/AS1 Acceptable Solution for Clause F8 Signs. (Amendment 3 - 14 February 2014) subsection 2.0, 3.0 and 4.0.

 F8/AS1 Acceptable Solution for Clause F8 Signs. (2nd Edition - 10 April 2012) subsection 2.0, 3.0 and 4.0.

£ F8/AS1 Acceptable Solution for Clause F8 Signs. (Amendment 1 - 01 September 1993) subsection 1.0, 2.0 and 3.0.

£ F8/AS1 Acceptable Solution for Clause F8 Signs. (1st Edition - 01 July 1992) subsection 1.0, 2.0 and 3.0.
( F6/AS1 Acceptable Solution for Clause F6 Visibility in escape routes. (Amendment 4 - 01 January 2017) subsection 1.6.

( F6/AS1 Acceptable Solution for Clause F6 Visibility in escape routes. (Amendment 3 - 14 February 2014) subsection 1.6.

( F6/AS1 Acceptable Solution for Clause F6 Visibility in escape routes. (Amendment 2 - 01 October 2011) subsection 1.6.

( F6/AS1 Acceptable Solution for Clause F6 Visibility in escape routes. (3rd Edition - 18 October 2007) subsection 1.6.

( F6/AS1 Acceptable Solution for Clause F6 Visibility in escape routes. (2nd Edition – Amendment 1 - 21 June 2007) paragraph 1.1.3.

( F6/AS1 Acceptable Solution for Clause F6 Visibility in escape routes. (2nd Edition - 01 June 2001) - paragraph 1.1.3

( F6/AS1 Acceptable Solution for Clause F6 Visibility in escape routes. (Amendment 1 - 01 December 1995) - paragraph 6.1.2.

 ( F6/AS1 Acceptable Solution for Clause F6 Visibility in escape routes. (1st Edition - 01 July 1992) - paragraph 6.1.2.


	Inspections:

	( NZ Building Code: F8 – Year: ………….
( Monthly Inspections. Illuminated signs should be inspected to ensure they are of the correct type, present and in the right location, legible, illuminated.

( Annual inspections. Signs not required to be illuminated should be inspected to ensure they are of correct type, present and in right location, legible and illuminated.

 

	Maintenance:

	( Signs shall be replaced if not of the correct type, replaced immediately should they be missing, refurbished before they become illegible. Defects in illuminated emergency signs shall be remedied immediately they are apparent. 



	INSPECTIONS, MAINTENANCE AND REPORTING (address those items that apply)

	Minimum inspection and maintenance procedures: 
	Regular Inspection and responsive maintenance will be carried out in accordance with the nominated performance and inspection Standard of the associated system, and to ensure signs remain correctly positioned and legible and where appropriate ensure the escape route is identified.                                                                                         

	Inspection frequency and responsibility:
	Depending on the type of installation and its performance standard/document:
( Specifically, designed solutions: by IQP only.
( Standard /other document:

( Daily by Owner / representative (for Risk group CA / Purpose groups CS, CL, CO, CM) 

( Monthly by IQP only (for other Risk group / Purpose groups) 
( Annually by IQP only


	Inspections & Maintenance:
Monthly Inspections


	( Illuminated signs will be inspected to ensure they are:

· The correct type

· Present and in the right locations

· Legible
· Performing as required e.g., illuminated signs are illuminating.

	Annual Inspections


	( Signs not required to be illuminated will be inspected to ensure they are: 
· The correct type

· Present and in the right locations

· Legible 
( Signs required to be illuminated will be tested to ensure they:

· Remain illuminated in the event of a failure of the main lighting supply, for the same duration as required by Building Code Clause F6 Visibility in Escape Routes.


	Reporting:

	The owner will keep records of all inspections, maintenance and repairs undertaken in the previous 24 months. These will be recorded in the On-Site Logbook, which will remain on the premises with the most recent compliance schedule, and as a minimum include:
· Details of any inspection, test or preventative maintenance carried out, including dates, works undertaken, faults found, remedies applied and the person who performed the work.

· Form 12A provided annually by the IQP.



[image: image2.png]\‘

£33

PN ] = @ Waikato
s m:\am # //ﬁ co{gﬁﬁ?‘)u.-. Waipd m Hamilton City Council

af
HAURAKI piako _ DISTRICT COUNCIL pistaict eoomcic At
DISTRICT COUNCIL & iy Wﬁ‘cfﬁfno Gtorohanga — R DISTRIET COUNEIL Tekaunihera o Ko




WBCG SS 15-4
Version 2026-01-23                                                         Page 1 of 3

[image: image2.png]