| Waikato Building Consents |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Compliance Schedule Details: SS 2 – Automatic/Manual Emergency Warning Systems (Alarms) |  |  |  |  |  |  |  |  |  |  |
| Please provide the following information with your Building Consent Application and Code Compliance Certificate Application if applicable. (If you need help to complete this form, consult the system provider or an IQP who is registered for the system above) |  |  |  |  |  |  |  |  |  |  |
| Applicant Name: …………………………………….…….… Site Address: ……………………………………….………… ………………………………………………………………..… Existing Compliance Schedule Number(s): (if applicable) ………………………………….............................................. ………………………………….............................................. |  |  |  |  |  |  |  | Building Name: ………………………………….…………… Installation provider: (if known) ……………………………… ………………………………….............................................. Risk / Purpose group: …………………………….…………. Fire Hazard Category: ……………………….………………. Total Occupant Load: ……………………….………………. |  |  |
| SPECIFIED SYSTEM DESCRIPTION (address those items that apply) |  |  |  |  |  |  |  |  |  |  |
| Specified systems: |  | £ Existing £ New £ Modified £ Removed |  |  |  |  |  |  |  |  |
| Type: |  | £ Monitored non-standard School Security Warning System (SSWS) |  |  |  |  |  |  |  |  |
|  |  | £ Monitored non-standard Security Based Warning System (SBWS) |  |  |  |  |  |  |  |  |
|  |  | £ Type 2: Manual warning systems £ Type 3: Automatic fire alarm system with heat detectors and manual call points £ Type 4: Automatic fire alarm system with smoke detectors and manual call points £ Type 5: Automatic fire alarm system with modified smoke / heat detection and manual call points £ A carbon monoxide gas detection system within a car park building that warms occupants of a potentially hazardous concentration of gas £ Other: [specify]…………………………………………………………………………….………………………. |  |  |  |  |  |  |  |  |
| Response: (i.e. Warning) |  |  |  |  |  |  | £ Manual £ Automatic |  |  |  |
| Supplementary Devices: (i.e. detection) |  |  |  |  |  |  | £ Heat Detectors £ Smoke Detectors £ Gas Detectors |  |  |  |
| Alarm Interfacing: [specify e.g. SS1, SS3/3, SS9] |  |  |  |  |  |  |  |  |  |  |
| Location Plan for specified systems and records is attached: £ YES £ NO |  |  |  |  |  |  |  |  |  |  |
| No. | Equipment location |  |  |  | Make (Main components) |  |  |  |  | Model |
| 1 |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |
| If needed continue the list on another sheet of paper |  |  |  |  |  |  |  |  |  |  |
| STANDARDS (address those items that apply) |  |  |  |  |  |  |  |  |  |  |
| Specifically, designed solutions do not apply if the system has been installed against a specific Standard(s) / document. |  |  |  |  |  |  |  |  |  |  |
| Performance / installation: Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  |  |  | NZS 4512:2021 Fire detection and alarm systems in buildings. (Original Version – 14 May 2021) NZS 4512:2010 Fire detection and alarm systems in buildings. (Original Version – 19 September 2010) NZS 4512:2003 Fire detection and alarm systems in buildings. (Original Version – 28 February 2003) NZS 4512:1997 Fire alarm systems in buildings. (Original Version – 15 January 1998) NZS 4512:1994 Fire alarm systems in buildings. (Original Version – 01 January 1994) NZS 4512:1981 Automatic fire alarm systems in buildings (Original Version – 26 June 1981) NZS 4514:2021 Interconnected smoke alarms for houses (Original Version – 07 May 2021) NZS 4514:2009 Interconnected smoke alarms for houses (Original Version – 27 July 2009) NZS 4514:2002 Interconnected smoke alarms for single household units (Original Version – 18 December 2002) NZS 4514:1989 The installation of smoke alarms (Original Version – 01 August 1989) NZS 4561:1973 Specification for manual fire alarm systems for use in buildings (Original Version – 15 January 1973) Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided) Other ………………………………………………………. |  |  |  |  |  |  |
| Inspections: Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  |  |  | NZS 4512:2021 (Original Version – 14 May 2021) Part 6 £ NZS 4512:2010 (Original Version – 19 September 2010) Part 6 £ NZS 4512:2003 (Original Version – 28 February 2003) Part 6 £ NZS 4512:1997 (Original Version – 15 January 1998) Part 6 £ NZS 4512:1981 (Original Version – 26 June 1981) Part 4 £ NZS 4514:2021 (Original Version – 7 May 2021) Part 3 £ NZS 4514:2009 (Original Version – 27 July 2009) Part 6 £ NZS 4561:1973 (Amendment 2) Appendix A £ AS 1851:2005 (Amendment 1 – 05 July 2006) Section 6.4, 7.4, 8.4 £ AS 1851:2012 (First Edition – Amendment 1 – 01 November 2016) Section 6 |  |  |  |  | £ Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided) Other ……………………………………………………. |  |
| Maintenance: Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  |  |  | NZS 4512:2021 (Original Version – 14 May 2021) Part 6 £ NZS 4512:2010 (Original Version – 19 September 2010) Part 6 £ NZS 4512:2003 (Original Version – 28 February 2003) Part 6 £ NZS 4512:1997 (Original Version – 15 January 1998) Part 6 £ NZS 4512:1981 (Original Version – 26 June 1981) Part 4 £ NZS 4514:2021(Original Version – 07 May 2021) Part 6 £ NZS 4514:2009 (Original Version – 27 July 2009) Part 6 £ NZS 4561:1973 (Amendment 2) Appendix A £ AS 1851:2005 (Amendment 1 – 05 July 2006) Section 6.4, 7.4, 8.4  AS 1851:2012 (First Edition – Amendment 1 – 01 November 2016) Section 6 |  |  |  |  | £ Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided) Other ……………………………………………………. |  |
| INSPECTIONS, MAINTENANCE AND REPORTING (address those items that apply) |  |  |  |  |  |  |  |  |  |  |
| Minimum inspection and maintenance procedures: |  |  | Planned preventative maintenance and responsive maintenance will be carried out in accordance with the nominated performance and inspection Standard/document, to ensure the system will operate as required in the event of a fire or other danger. |  |  |  |  |  |  |  |
| Inspection frequency and responsibility: |  |  | £ Specifically designed solutions |  |  | By IQP |  |  |  |  |
|  |  |  | £ School Security Warning System (SSWS): |  |  | - Monthly: by School Representative - Six Monthly: by Security Alarm maintenance contractor - Annual: £ IQP £ Security Alarm maintenance contractor |  |  |  |  |
|  |  |  | £ Security Based Warning System (SBWS) |  |  | - Weekly: (sounders) by Owner / Representative - Quarterly: (sounders & smoke detectors) by IQP only - Annually:(sounders & smoke detectors + annual survey) by IQP only |  |  |  |  |
|  |  |  | £ Manual warning systems (Type 2f alarm) |  |  | - Monthly: (Sounders) by IQP only - Quarterly:(Sounders) by IQP only - Annually: by IQP only |  |  |  |  |
|  |  |  | £ Automatic fire alarm system (Type £ 3, £ 4, £ 5, £ 6, £ 7) |  |  | - Monthly: (Sounders) by IQP only - Quarterly:(Sounders) by IQP only - Annually: by IQP only |  |  |  |  |
| Reporting: |  |  | The owner will keep records of all inspections, maintenance and repairs undertaken in the previous 24 months. These will be recorded in the On-Site Logbook, which will remain on the premises with the most recent compliance schedule, and as a minimum include: - Details of any inspection, test or preventative maintenance carried out, including dates, works undertaken, faults found, remedies applied and the person who performed the work. - Form 12A provided annually by the IQP |  |  |  |  |  |  |  |