| Waikato Building Consents |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Compliance Schedule Details: SS 3/1 – Automatic Doors |  |  |  |  |  |  |  |  |
| Please provide the following information with your Building Consent Application and Code Compliance Certificate Application if applicable. (If you need help to complete this form, consult the system provider or an IQP who is registered for the system above) |  |  |  |  |  |  |  |  |
| Applicant Name: …………………………………….…….… Site Address: ……………………………………….…………. ………………………………………………………………..… Existing Compliance Schedule Number(s): (if applicable) ………………………………….............................................. ………………………………….............................................. |  |  |  |  |  | Building Name: ………………………………….…………… Installation provider: (if known) ……………………………… ………………………………….............................................. Risk / Purpose group: …………………………….…………. Fire Hazard Category: ……………………….………………. Total Occupant Load: ……………………….………………. |  |  |
| SPECIFIED SYSTEM DESCRIPTION (address those items that apply) |  |  |  |  |  |  |  |  |
| Specified systems: |  |  | £ Existing £ New £ Modified £ Removed |  |  |  |  |  |
| Type: |  |  | £ Automatic sliding doors. £ Automatic revolving doors. £ Other: [specify] ……………………………….……………………………………….……….…….. |  |  |  |  |  |
| Location Plan for specified systems and records is attached: £ YES £ NO |  |  |  |  |  |  |  |  |
| No. | Equipment location |  |  | Make (Main components) |  |  |  | Model |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |
|  | If needed continue the list on another sheet of paper |  |  |  |  |  |  |  |
| STANDARDS (address those items that apply) |  |  |  |  |  |  |  |  |
| Specifically, designed solutions do not apply if the system has been installed against a specific Standard(s) / document. |  |  |  |  |  |  |  |  |
| Performance / installation: Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  | £ NZS 4239:1993 Automatic sliding door assemblies. (Amendment 1 – 30 December 1993) £ AS 4085:1992 Automatic sliding door assemblies. (Original Version – 14 December 1992) £ AS 5007:2007 Powered doors for pedestrian access and egress. (Original Version – 14 December 1992) £ AS 4290:2000 Design and installation of revolving doors. (Original Version – 01 January 2000) £ Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided) £ Other: ………………………………………. |  |  |  |  |  |  |
| Inspections: Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  | £ NZS 4239:1993 (Amendment 1 – 30 December 1993) Appendix A £ AS 4085:1992 (Original Version – 14 December 1992) Appendix A £ AS 4290:2000 (Original Version – 01 January 2000) Appendix B |  |  | £ Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided) £ Other: ………………………………………. |  |  |  |
| Maintenance: Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  | £ NZS 4239:1993 (Amendment 1 – 30 December 1993) Appendix A £ AS 4085:1992 (Original Version – 14 December 1992) Appendix A £ AS 4290:2000 (Original Version – 01 January 2000) Appendix B |  |  | £ Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided) £ Other: ………………………………………. |  |  |  |
| INSPECTIONS, MAINTENANCE AND REPORTING (address those items that apply) |  |  |  |  |  |  |  |  |
| Minimum inspection and maintenance procedures: |  | Regular inspection and testing and planned preventative maintenance and responsive maintenance will be carried out in accordance with the nominated performance and inspection standard/document to ensure: Continue on the next page - Safe, suitable operation of the system - Occupants are not prevented from leaving the building in the event or an emergency. - People with disabilities can gain access to the internal space of the building. |  |  |  |  |  |  |
| Inspection frequency and responsibility: |  | Depending on the type of installation and its performance standard/document: £ Specifically, designed solutions: by IQP only. £ Standard / another document: £ Daily: by Owner / representative £ Monthly: by IQP only £ Annually: by IQP only |  |  |  |  |  |  |
| Buildings requiring daily maintenance: |  | £ CS Purpose group £ CL Purpose group £ CO Purpose group £ CM Purpose group £ Building work affecting an Access Controlled Door |  |  |  |  | £ Risk Group CA |  |
| Inspections & Maintenance: Daily/Monthly inspections Annual Inspections |  | Doors will be inspected to ensure they can be opened and that they are not: - Locked - Barred - Blocked |  |  |  |  |  |  |
|  |  | The following inspections will be carried out when appropriate: - Auto door controller operation - Activation devices - Safety devices - Hanger brackets & bolt fixings - Wheels - Anti-rise rollers - General condition of door leaves and hardware - Alignment & clearance of doors - Glazing & vision panel to door leaves and over lights - Floor guides - Operation of any doorway illumination - Visibility of strongly contrasting visual strip to leading edge |  |  |  |  |  |  |
| Annual Tests |  | In addition to the inspections, the following will also be tested for effective operation: - Electrical & mechanical lock - Battery back up - Brake settings - Panic breakout or fail-safe devices - Interface between automatic doors and the buildings emergency warning system - Motion pick up of sensors at shallow angles - Door timing (it should remain open for at least 5 seconds) |  |  |  |  |  |  |
| Maintenance |  | The following will be carried out during inspections as required: £ Adjust belt or chain tension. £ Adjust brake settings. £ Replace sticky, noisy or non-round wheels. £ Clean track & wheels with moist cloth £ Recharge back up batteries when power is below specified levels |  |  |  |  |  |  |
| Reporting: |  | The owner will keep records of all inspections, maintenance and repairs undertaken in the previous 24 months. These will be recorded in the On-Site Logbook, which will remain on the premises with the most recent compliance schedule, and as a minimum include: - Details of any inspection, test or preventative maintenance carried out, including dates, works undertaken, faults found, remedies applied and the person who performed the work. - Form 12A provided annually by the IQP |  |  |  |  |  |  |