| Waikato Building Consents |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Compliance Schedule Details: SS 9 – Mechanical Ventilation or Air Conditioning Systems |  |  |  |  |  |  |  |  |  |
| Please provide the following information with your Building Consent Application and Code Compliance Certificate Application if applicable. (If you need help to complete this form, consult the system provider or an IQP who is registered for the system above) |  |  |  |  |  |  |  |  |  |
| Applicant Name: ……………………………………..……..… Site Address: ……………………………………….………… ………………………………………………………………..… Existing Compliance Schedule Number(s): (if applicable) ………………………………….............................................. ………………………………….............................................. |  |  |  |  |  |  | Building Name: …………………………………..…………… Installation provider: (if known) ……………………………… ………………………………….............................................. Risk / Purpose group: …………………………….………….. Fire Hazard Category: ……………………….………………. Total Occupant Load: ……………………….……………….. |  |  |
| SPECIFIED SYSTEM DESCRIPTION (address those items that apply) |  |  |  |  |  |  |  |  |  |
| Specified systems: |  |  |  | £ Existing £ New £ Modified £ Removed |  |  |  |  |  |
| Type: |  | £ Toilet extract system servicing multiple facilities. £ Ducted ventilation or air conditioning system. £ Spray booth ventilation system where the booth forms all or part of the building. £ Air-handling system that maintains a differential air pressure in a hospital operating theatre, medical isolation room, quarantine facility or pharmaceutical manufacturing plant. £ Cooling-water system incorporating one or more cooling towers or evaporative condensers. £ Air-handling system required to function in smoke management or smoke clearance mode during a fire. £ System incorporating one or more solid liquid or gas-fired boilers. £ System containing one or more electric heating elements mounted in air handling units or ducts located outside the occupied space. £ Split air conditioning unit that introduces fresh air into the building. £ Dust extract system in a building that is not part of the building. £ Other: [specify] ……………………………………………………. |  |  |  |  |  |  |  |
| Location Plan for specified systems and records is attached: £ YES £ NO |  |  |  |  |  |  |  |  |  |
| No. | Equipment location |  |  |  |  | Make (Main components) |  |  | Model |
| 1 |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |
|  | If needed continue the list on another sheet of paper |  |  |  |  |  |  |  |  |
| STANDARDS (address those items that apply) |  |  |  |  |  |  |  |  |  |
| Specifically, designed solutions do not apply if the system has been installed against a specific Standard(s) / document. |  |  |  |  |  |  |  |  |  |
| Performance / installation: Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  |  | £ NZS 4303:1990 - Ventilation for acceptable indoor air quality. (Original Version – 13 September 1990) £ AS 1668:2012 - The use of ventilation and air-conditioning in buildings. (Amendment 2 – 21 December 2016) Part 2: Ventilation design for indoor-air contamination control. £ AS 1668:2002 - The use of ventilation and air-conditioning in buildings. (Original Version – 10 June 2002) Part 2: Ventilation design for indoor-air contamination control. £ AS/NZS 1668:2015 The use of ventilation and air-conditioning in buildings. (Original Version – 14 December 2015) Part 1: Fire and smoke control in buildings £ AS/NZS 1668.1:1998 The use of ventilation and air conditioning in buildings. Fire and smoke control in multi-compartment buildings (Amendment 1 – 21 November 2002). £ AS/NZS 3666:2011 Air-handling and water systems of buildings. (Original Version – 14 November 2011) Part 1: Microbial Control - Design, installation and commissioning Part 2: Microbial Control - Operation and maintenance £ AS/NZS 4740:2000 Natural ventilaters - classification and performance. (Original Version – 29 March 2000) £ AS/NZS 3823:2012 Performance of electrical appliances – Air conditioners and heat pumps (Original Version – 13 November 2012) - Part 1.4: Multiple split-system air conditioners and air-to-air heat pumps - Testing and rating for performance £ AS/NZS 4114:2003 Spray painting booths, designated spray-painting areas and paint mixing rooms. (Original Version – 10 February 2003) Part 1: Design, construction and testing and Part 2: Installation and maintenance. £ AS/NZS 4114:2020 Spray painting booths, designated spray-painting areas and paint mixing rooms (Original Version – 28 February 2020) £ Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided) £ Other: …………………………. Continue on the next page |  |  |  |  |  |  |
| Inspections and Maintenance: Systems Hygiene Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  |  | £ AS/NZS 3666.2:2011 (Original Version – 14 November 2011) £ AS/NZS 1668.1:2015 (Original Version – 14 December 2015) £ AS/NZS 4740:2000 (Original Version – 29 March 2000) £ AS/NZS 4114:2003 (Original Version – 10 February 2003) – Part 2 £ AS/NZS 4114:2020 (Original Version – 28 February 2020) £ AS/NZS 3823.1.2:2012 (Original Version – 11 May 2012) £ Other: ……………………………………… |  |  |  |  | £ Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided) |  |
| Chemical control Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  |  | £ AS/NZS 3666.3:2011 (Original Version – 14 November 2011) - Table 3.2  AS/NZS 3666.4:2011 (Original Version – 14 November 2011) £ Other: ……………………………………… |  |  |  |  | £ Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided). |  |
| Fire and Smoke Control Note: Unless the standard specifies an amendment to the standard, it is to be read as the First Edition (original version). |  |  | £ AS 1851:2012 (Original Version – 03 December 2012) – Section 13 £ AS 1851-2012/Amdt 1-2016 (Original Version – 16 November 2016) £ AS 1851:2005 (Original Version – 05 September 2005) £ AS 1851-2005/Amdt 1-2006 (Amendment 1 – 01 January 2006) £ AS 1851-2005/Amdt 2-2008 (Amendment 2 – 23 May 2008) £ Other: ………………………………………. |  |  |  |  | £ Specifically, designed solution prepared by a person who, on the basis of experience and qualifications, is competent to do so. (Details provided). |  |
| INSPECTIONS, MAINTENANCE AND REPORTING (address those items that apply) |  |  |  |  |  |  |  |  |  |
| Minimum inspection and maintenance procedures: |  |  |  |  | Regular inspection and planned preventative maintenance and responsive maintenance will be carried out in accordance with the nominated performance and inspection standard/document to ensure effective operation and preservation of any inbuilt safety features. |  |  |  |  |
| Inspection frequency and responsibility: |  |  |  |  | Depending on the type of installation and its performance standard/document: £ Specifically, designed solutions: by IQP only £ Standard /other document: £ Weekly: by IQP £ Monthly: by IQP £ Annually: by IQP |  |  |  |  |
| Inspections & Maintenance: Weekly/ Monthly Inspections |  |  |  |  | In addition to the maintenance required by the applicable standard selected, particular attention will be given to systems incorporating cooling towers or evaporative condensers, in case organisms such as Legionella are present. |  |  |  |  |
| Monthly/ Annual Inspections |  |  |  |  | Monthly and annual inspections will be carried out as per the applicable standard / document selected. However, where appropriate any additional inspections or maintenance activities required to ensure that a system continues to operate properly will be included with inspection and maintenance procedures. |  |  |  |  |
| Chemical Control |  |  |  |  | £ For cooling towers and evaporative condensers with automatic chemical dosing: Bacteriological tests: Compliance Schedule Handbook, Table 1, Pg 40 £ For cooling towers and evaporative condensers without automatic chemical dosing: Weekly dip-slide tests. If dip-slide tests have a result greater than 10^5 cfu / ml, control strategies in AS/NZS 3666.3 Table 3.2 must be implemented. |  |  |  |  |
| Reporting: |  |  |  |  | The owner will keep records of all inspections, maintenance and repairs undertaken in the previous 24 months. These will be recorded in the On-Site Logbook, which will remain on the premises with the most recent compliance schedule, and as a minimum include: - Details of any inspection, test or preventative maintenance carried out, including dates, works undertaken, faults found, remedies applied and the person who performed the work. - Form 12A provided annually by the IQP. |  |  |  |  |